## FHSC
Project Name :
Location | Product Code | Item | Key Description | Finish/Colour/Code | Supplier | Image | Quantity | Notes
| TP10 | Toilet Partition System | Full Height Self-Contained Cleaners Closet (FHSC-C) | Board Selection: Doors: Durasafe 13mm [insert Durasafe colour here] Divisional panels/frontals: Durasafe 13mm [insert Durasafe colour here] Hardware: [Delete not required hardware] Viva Satin Chrome Hardware Viva Black Hardware Construction: Privacy Max Door Seals Privacy Max Ventilation Panel Ceiling Mounting: 20 x 30mm powder coated aluminium C channel fixed to the ceiling Floor Mounting: Aluminium Angle Overall System Height: Min. 2100mm to Max. 3000mm AFFL | DuraCube 1300 387 228 sales@duracube.com.au